## Instructions
This work book contains the following spreadsheets:
(1) Performer Info: This spreadsheet is intended to collect information about the performer and the system under test.
(2) Survey Summary: This spreadsheet is intended to track the summary data of each survey (or overpass, if a hyperspectral imaging system is being tested) .
Data fields are color coded as follows:
Mandatory - These fields must be entered for each entry. They are the minimum fields required to complete the analysis as outlined in the test protocol.
Optional - These fields may be entered if you collect this data. They are not required, but if provided will enable calculation of secondary metrics.
Calculated - These fields are calculated automatically from other entries in the row. They provide summary data to allow you to cross check your data entry.

## Performer Info
Company | Universitat Politècnica de València
Product name | ZY1F L1 product
(1) Please provide a detailed description of system configuration and primary components including the sensor and deployment platform. Additionally, the location (latitude, longitude, height) of auxiliary components such as meteorological station or any other equipment installed at or near the Test Center must be recorded.
(2) Please record the model number of each primary component in (1), if applicable.
(3) Please record the software revision installed on the components in (1), including performer-specific software components, revisions, or customizations
(4) Please record the revision number of any software analytics installed offsite. For example software to convert concentration maps to mass emission quantification estimates during the experiments.
(5) Please provide a detailed description of the methodology used during emission detection/quantification surveys. | We apply the matched-filter method on the 2100-2450 nm spectral range (MF) in a per-column basis. We determine the existence of a plume by visual inspection. In case we detect a plume, we mask it using a mask based on the matched-filter method on the 1000-2450 nm spectral range (WWMF) in a per column basis. This spectral range of application results in methane retrievals where plumes are more differenciated from background, which benefits the masking process. A first mask will result from values greater than two times the standard deviation from the WWMF retrieval. Then we apply a morphology operation of dilation to this mask in order to fill gaps between cluster to unify different parts from the same plume. Then, an automatic algorithm based on morphology and size parameters is applied to this mask in order to detect the plume. As a result, a new mask is created and multiplied by the original mask in order to reduce the effect of dilation. Residual clusters not related to the plume are manually removed.
(6) Please provide the confidence level at which emission detection data are reported. (e.g., 95% CI, +/- 1 sigma) | +/- 1 sigma
(7) Please record the number of personnel participating in the surveys and their roles. Any remote personnel participating in the survey in any fashion should be documented as part of the survey team in this section. Names of individual personnel are not required.
(8) For hyperspectral technologies, describe how plume length is determined for quantification. | We calculate the length of the plume as the square root of the plume area: L= sqrt(num_pixel *30*30); where L is the length of the plume, num_pixel is the number of pixels that compose the plume, and 30 is the pixel resolution of ZY1F in meters.
(9) If wind speed is used in computing total emission rate, please describe how the wind estimate is obtained, including the precise instrument or wind reanalysis product used. | We have used 1-h average 10-m wind (𝑈10) data from two sources: the NASA Goddard Earth Observing System-Fast Processing (GEOS-FP) meteorological reanalysis product at 0.25°× 0.3125° resolution and the ERA5 data on single levels from 1959 to present with a 0.28125° X 0.28125° resolution. The products provide a U-component of wind (the eastward component of the wind) and a V-component of wind (the northward component of the wind) in m s-1. Both can be combined to give the speed and direction of the horizontal wind. When the plume is over more than one wind grid cell, i.e., part of the plume has one wind U and V data, and the other part has another wind U and V data, we take the weighted average value based on the number of plume pixels that fall into each cell of the wind data. We select the source that aligns the most to plume direction.

## Survey Summary
PerformerExperimentID | FacilityID | EquipmentUnitID | DateOfSurvey | Timestamp | StartTime | EndTime | SurveyTime | Gas | FacilityEmissionRate | FacilityEmissionRateUpper | FacilityEmissionRateLower | FacilityEmissionRateUncertaintyType | WindSpeed | WindSpeedUpper | WindSpeedLower | WindSpeedUncertaintyType | WindDirection | NumberOfEmissionSourcesReported
1 | 1 | 1 | 2022-10-26 | 182336 | N/A | N/A | N/A | Methane | 1633.46 | 2041.96 | 1224.96 | 408.5 | 1.27 | 1.9 | 0.63 | 0.63 | 301 | N/A
2 | 1 | 1 | 2022-10-20 | 183042 | N/A | N/A | N/A | Methane | 1343.81 | 1778.55 | 909.07 | 434.74 | 2.2 | 3.31 | 1.1 | 1.1 | 239 | N/A
3 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
4 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
5 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
6 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
7 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
8 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
9 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
10 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
11 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
12 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
13 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
14 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
15 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
16 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
17 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
18 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
19 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
20 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
21 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
22 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
23 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
24 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
25 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
26 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
27 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
28 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
29 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
30 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
31 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
32 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
33 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
34 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
35 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
36 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
37 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
38 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
39 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
40 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
41 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
42 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
43 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
44 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
45 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
46 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
47 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
48 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
49 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
50 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
51 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
52 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
53 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
54 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
55 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
56 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
57 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
58 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
59 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
60 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
61 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
62 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
63 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
64 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
65 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
66 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
67 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
68 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
69 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
70 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
71 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
72 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
73 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
74 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
75 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
76 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
77 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
78 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
79 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
80 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
81 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
82 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
83 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
84 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
85 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
86 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
87 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
88 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
89 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
90 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
91 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
92 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
93 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
94 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
95 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
96 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
97 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
98 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
99 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
100 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
101 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
102 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
103 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
104 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
105 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
106 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
107 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
108 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
109 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
110 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
111 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
112 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
113 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
114 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
115 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
116 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
117 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
118 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
119 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
120 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
121 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
122 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
123 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
124 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
125 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
126 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
127 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
128 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
129 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
130 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
131 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
132 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
133 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
134 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
135 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
136 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
137 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
138 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
139 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
140 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
141 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
142 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
143 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
144 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
145 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
146 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
147 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
148 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
149 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
150 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
151 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
152 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
153 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
154 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
155 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
156 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
157 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
158 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
159 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
160 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
161 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
162 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
163 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
164 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
165 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
166 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
167 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
168 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
169 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
170 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
171 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
172 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
173 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
174 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
175 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
176 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
177 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
178 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
179 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
180 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
181 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
182 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
183 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
184 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
185 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
186 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
187 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
188 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
189 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
190 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
191 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
192 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
193 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
194 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
195 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
196 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
197 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
198 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
199 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
200 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
201 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
202 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
203 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
204 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
205 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
206 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
207 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
208 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
209 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
210 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
211 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
212 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
213 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
214 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
215 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
216 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
217 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
218 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
219 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
220 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
221 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
222 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
223 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
224 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
225 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
226 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
227 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
228 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
229 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
230 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
231 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
232 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
233 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
234 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
235 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
236 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
237 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
238 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
239 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
240 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
241 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
242 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
243 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
244 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
245 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
246 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
247 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
248 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
249 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
250 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
251 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
252 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
253 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
254 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
255 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
256 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
257 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
258 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
259 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
260 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
261 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
262 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
263 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
264 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
265 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
266 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
267 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
268 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
269 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
270 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
271 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
272 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
273 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
274 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
275 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
276 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
277 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
278 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
279 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
280 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
281 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
282 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
283 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
284 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
285 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
286 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
287 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
288 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
289 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
290 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
291 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
292 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
293 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
294 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
295 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
296 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
297 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
298 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
299 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
300 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
301 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
302 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
303 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
304 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
305 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
306 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
307 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
308 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
309 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
310 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
311 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
312 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
313 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
314 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
315 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
316 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
317 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
318 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
319 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
320 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
321 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
322 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
323 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
324 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
325 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
326 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
327 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
328 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
329 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
330 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
331 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
332 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
333 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
334 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
335 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
336 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
337 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
338 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
339 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
340 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
341 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
342 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
343 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
344 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
345 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
346 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
347 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
348 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
349 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
350 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
351 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
352 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
353 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
354 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
355 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
356 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
357 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
358 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
359 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
360 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
361 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
362 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
363 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
364 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
365 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
366 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
367 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
368 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
369 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
370 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
371 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
372 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
373 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
374 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
375 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
376 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
377 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
378 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
379 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
380 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
381 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
382 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
383 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
384 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
385 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
386 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
387 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
388 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
389 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
390 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
391 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
392 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
393 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
394 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
395 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
396 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
397 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
398 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
399 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
400 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
401 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
402 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
403 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
404 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
405 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
406 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
407 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
408 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
409 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
410 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
411 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
412 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
413 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
414 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
415 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
416 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
417 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
418 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
419 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
420 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
421 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
422 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
423 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
424 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
425 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
426 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
427 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
428 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
429 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
430 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
431 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
432 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
433 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
434 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
435 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
436 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
437 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
438 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
439 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
440 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
441 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
442 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
443 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
444 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
445 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
446 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
447 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
448 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
449 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
450 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
451 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
452 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
453 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
454 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
455 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
456 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
457 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
458 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
459 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
460 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
461 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
462 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
463 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
464 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
465 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
466 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
467 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
468 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
469 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
470 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
471 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
472 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
473 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
474 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
475 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
476 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
477 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
478 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
479 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
480 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
481 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
482 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
483 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
484 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
485 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
486 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
487 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
488 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
489 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
490 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
491 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
492 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
493 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
494 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
495 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
496 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
497 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
498 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
499 | 1 | 1 |  |  | N/A | N/A | N/A | Methane | [9 empty] | N/A
500 | 1 | 1 |  |  |  |  | 0:00

## Detection Data - Facility Level (hidden)
PerformerExperimentID | FacilityID

## Detection Data-Emission Source (hidden)
EmissionSourceID | PerformerExperimentID | FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup | Latitude1 | Longitude1 | Height1 | Latitude2 | Longitude2 | Height2 | Gas | EmissionRate | EmissionRateUpper | EmissionRateLower

## Data Validation (hidden)
FacilityID | EquipmentUnitID | EquipmentType | EquipmentGroup |  | Latitude | Longitude | Gas | Pad
1 | N/A | NA | NA | min | 40.5948 | -105.1415 | THC | 1/2
2 | 1W-1 | Wellhead | 1W | max | 40.5965 | -105.1388 | Methane | 3
3 | 1S-1 | Separator | 1S |  |  |  | Ethane | 4/5
4 | 1T-1 | Tank | 1T |  |  |  | Propane
5 | 2W-1 | Wellhead | 2W |  |  |  | Butane
N/A | 2S-1 | Separator | 2S |  |  |  | NMHC
| 2T-1 | Tank | 2T
| 3W-1 | Wellhead | 3W
| 3W-2 | Wellhead | 3W
| 3W-3 | Wellhead | 3W
| 3S-1 | Separator | 3S
| 3S-2 | Separator | 3S
| 3T-1 | Tank | 3T
| 3T-2 | Tank | 3T
| 4W-1 | Wellhead | 4W
| 4W-2 | Wellhead | 4W
| 4W-3 | Wellhead | 4W
| 4W-4 | Wellhead | 4W
| 4W-5 | Wellhead | 4W
| 4S-1 | Separator | 4S
| 4S-2 | Separator | 4S
| 4S-3 | Separator | 4S
| 4S-4 | Separator | 4S
| 4F-1 | Flare | 4F
| 4F-2 | Flare | 4F
| 4T-1 | Tank | 4T
| 4T-2 | Tank | 4T
| 4T-3 | Tank | 4T
| 5W-1 | Wellhead | 5W
| 5W-2 | Wellhead | 5W
| 5W-3 | Wellhead | 5W
| 5S-1 | Separator | 5S
| 5S-2 | Separator | 5S
| 5S-3 | Separator | 5S
| 6D-1 | Dehydrator | 6D
| 6C-1 | Compressor | 6C
| 6S-1 | Separator | 6S
| 6F-1 | Flare | 6F